## Sheet1
Command | Arg 1 | Arg2 | Arg3 | Arg4 | Additional Args | Response if valid | Error responses
connect | [5 empty] | command line | Error: RS232 already connected: *** \n | Error: USB already connected: *** \n | Error: Eth-Connection:*** \n
disconnect | [5 empty] | command line | Error: Not connected: *** \n
reset | [5 empty] | command line
version | [5 empty] | PPDAQ:version_string
echo | [5 empty] | command line
cleanup | [5 empty] | command line
help | [5 empty] | TBD help text
ppdio boards | [5 empty] | PPDIO: <# installed PPDIO96 boards>
ppdio boards | #boards=0-6 |  |  |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio slots | [5 empty] | PPDIO <x x x x x x>
ppdio slots | BS1=0 or 1 | BS2=0 or 1 | BS3=0 or 1 | BS4=0 or 1 | BS5 and BS6 | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio dir | board=1-6 | bank=0-7 | io=0-1 |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio pullup | board=1-6 | bank=0-7 | bit=0-B | pullup=0-1 |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio filter | board=1-6 | bank=0-7 | bit=0-B | filter=1-5 |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio polarity | board=1-6 | bank=0-7 | bit=0-B | polarity=0-1 |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio polarity | board=1-6 | bank=0-7 | polarity=0-FFF |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio din | [5 empty] | DIN: xxx0 xxx2 … xxxn-1
ppdio din | board=1-6 |  |  |  |  | PPDIO DIN: xxx0 xxx1 xxx2 xxx3 xxx4 xxx5 xxx6 xxx7
ppdio din | board=1-7 | bank=0-7 |  |  |  | PPDIO DIN: xxx
ppdio din | board=1-8 | bank=0-7 | bit=0-B
ppdio dout | xxx0 | xxx1 | xxx2 | xxx3 | xxx[4] to xxx[n-1] | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio dout | board=1-6 | xxx0 | xxx1 | xxx2 | xxx[3] to xxx[7] | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio dout | board=1-6 | bank=0-7 | xxx |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio dout | board=1-6 | bank=0-7 | bit=0-B | 0/1 |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdio debounce | board=1-6 | bank=0-7 | bit=0-B |  |  | DBNC:xx | Error:range: *** \n | Error:syntax: *** \n
ppdo boards | [5 empty] | PPDOUT: <# installed PPDO boards> | Error:range: *** \n | Error:syntax: *** \n
ppdo boards | #boards=0-n |  |  |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdo dout | board=1-n | xxxx |  |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdo dout | board=1-n | bit=0-F | 0/1 |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppdo din | board=1-n | bit=0-F |  |  |  | ppdout din <board> <bit> <value> | Error:range: *** \n | Error:syntax: *** \n
ppdo din | board=1-n |  |  |  |  | ppdout din <board> <value> | Error:range: *** \n | Error:syntax: *** \n
ppdo type | board=1-n |  |  |  |  | ppdo type: <type> | Error:range: *** \n | Error:syntax: *** \n
ppdo type | board=1-n | type= 1-2 |  |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio boards | board=0-8 |  |  |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio gain | board=0-7 | port=0-F | gain=0-4 |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio fltr | board=0-7 | port=0-F | filter=0-5 |  |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio ain | [5 empty] | AIN: xxxx0 xxxx2 … xxxxn-1 | Error:range: *** \n | Error:syntax: *** \n
ppaio ain | board=0-7 |  |  |  |  | AIN: xxxx0 xxxx2 … xxxx15 | Error:range: *** \n | Error:syntax: *** \n
ppaio ain | board=0-7 | port=0-F |  |  |  | AIN: xxxx | Error:range: *** \n | Error:syntax: *** \n
ppaio aout | xxxx0 | xxxx1 | xxxx2 | xxxx3 |  | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio aout | board=0-7 | xxxx0 | xxxx1 | xxxx2 | xxxx3 | command line | Error:range: *** \n | Error:syntax: *** \n
ppaio aout | board=0-7 | port=0-3 | xxxx |  |  | command line
ppaio type | board=0-7 | port=0-3 | 0/1 |  |  | command line | Error:range: *** \n | Error:syntax: *** \n